4XSTRUCT · STRUCTMIND AI

MASTER INTAKE — 12-SECTION PROJECT AUDIT

Project: Quick Analysis

Generated: 2026-05-26T15:06:42.035521+00:00

Model: STRUCTMIND CORE · PRO

SHA-256 Hash: 9ef1da7e6737dad8030a0222dddba6c316da0963f5cbed62e505395b975b843e

## 1. FILE INVENTORY & DRAWING STATUS

---

Drawing Register

| # | File / Sheet Name | Discipline | Rev | Status | Notes |
| --- | --- | --- | --- | --- | --- |
| 1 | S0.01 | Structural | — | ✅ Readable | General Notes |
| 2 | S0.02 | Structural | — | ✅ Readable | Typical Schedules & Details |
| 3 | S0.03 | Structural | — | ✅ Readable | Special Inspections |
| 4 | S1.01 | Structural | — | ✅ Readable | Foundation Plan |
| 5 | S1.02 | Structural | — | ✅ Readable | Second Floor Framing Plan |
| 6 | S1.03 | Structural | — | ✅ Readable | Typical Level Framing Plan (Reference) |
| 7 | S1.04 | Structural | — | ✅ Readable | Roof Framing Plan |
| 8 | S2.01 | Structural | — | ✅ Readable | Structural Wall Designation Plan |
| 9 | S2.02 | Structural | — | ✅ Readable | CMU and Wood Stud Framing Schedules |
| 10 | S2.03 | Structural | — | ✅ Readable | CMU Reinforcement Elevations - Stair #1/Elevator |
| 11 | S2.04 | Structural | — | ✅ Readable | CMU Reinforcement Elevations - Stair #2 |
| 12 | S3.01 | Structural | — | ✅ Readable | Foundation Sections |
| 13 | S3.02 | Structural | — | ✅ Readable | Floor Framing Sections |
| 14 | S3.03 | Structural | — | ✅ Readable | Roof Framing Sections |
| 15 | S3.04 | Structural | — | ✅ Readable | Roof Framing Sections |
| 16 | S3.05 | Structural | — | ✅ Readable | Canopy Framing Sections |
| 17 | S3.06 | Structural | — | ✅ Readable | Trellis and Site Wall Details |

Status: ✅ Readable · ⚠️ Partial · ❌ Unreadable · 🔍 Referenced but Missing

List every uploaded file — never group

Package Statistics

Total files uploaded: 17

Structural sheets: 17 | Architectural: 0 | Civil: 0 | Other: 0

Unreadable / scanned: None

Sheets referenced but not uploaded: Architectural drawings (for opening widths, canopy details, trellis layout)

Recommended action before detailing:

📌 Obtain Architectural drawings for cross-referencing steel lintel lengths and canopy/trellis geometry.

📌 Issue RFIs for all missing critical dimensions (e.g., column lengths).

## 2. PROJECT IDENTITY & SYSTEM SUMMARY

---

Project Identity Table

| Field | Extracted Value | Source Sheet | Status |
| --- | --- | --- | --- |
| Project Name | HOME 2 - CAROWINDS | S0.01 | ✅ Found |
| Project Number | 2024.023 | S0.01 | ✅ Found |
| Location / Address | Cabelas Dr, Fort Mill, South Carolina 29708 | S0.01 | ✅ Found |
| Owner | Samarth Patel / Neelkanth Hospitality | S0.01 | ✅ Found |
| General Contractor | NOT FOUND IN PROVIDED FILES | — | 🚫 Not applicable / Not found |
| EOR (Structural Engineer) | Taylor & Viola Structural Engineers | S0.01 | ✅ Found |
| Architect | rba. | S0.01 | ✅ Found |
| Fabricator (if noted) | NOT FOUND IN PROVIDED FILES | — | 🚫 Not applicable / Not found |
| Approval Stage | CONSTRUCTION DOCUMENTS | S0.01 | ✅ Found |
| Code of Record | IBC 2018 / AISC 360-16 | S0.01 | ✅ Found |
| Seismic Design Category | SDC C | S0.01 | ✅ Found |
| Wind Exposure Category | C | S0.01 | ✅ Found |

Structural System Summary

Primary system: Wood-framed structure with CMU shear walls and stair/elevator cores.

Lateral system: CMU shear walls and wood shear walls.

Floor system: Engineered wood I-joists with 3/4" T&G sheathing.

Roof system: Pre-engineered wood trusses with 3/4" T&G sheathing.

Foundation interface: Concrete shallow foundations (spread footings and wall footings).

Special conditions: Very limited structural steel scope consisting of columns, beams, and lintels supporting wood framing. Outdoor trellis structure.

Approximate Tonnage Estimate

Primary structural steel: ~4.5 t

Secondary / misc steel: ~0.8 t

Combined project total: ~5.3 t

Basis: "Counted from framing plan S1.02 and schedules S0.02. Tonnage is highly preliminary as all column and lintel lengths are missing and must be assumed or scaled."

## 3. GRID & GEOMETRY AUDIT

---

Grid Line Inventory

| Grid | Direction | Spacing | Sheet | Consistent Across Sheets? | Issues |
| --- | --- | --- | --- | --- | --- |
| 1 to 18 | E-W | 12'-10" typical | S1.01, S1.02 | ✅ Yes | None |
| A to G | N-S | Varies (e.g. 21'-4", 35'-10") | S1.01, S1.02 | ✅ Yes | None |

Grid origin confirmed: No

Skew or angle grids: No

Sloped / cambered members: No

Curved geometry: No

Grid conflicts between sheets: None detected

## 4. MATERIAL GRADE NORMALIZATION

---

All Materials Found

| Member Category | Raw Callout | Normalized ASTM Grade | Source Sheet | Conflict? | Notes |
| --- | --- | --- | --- | --- | --- |
| W-Shapes | FY=50 KSI | A992 Gr.50 | S0.01 | ✅ No | Standard for W-shapes. |
| HSS Shapes | ASTM A500 GRADE C | A500 Gr.C | S0.01 | ✅ No | Standard for HSS. |
| Angles | FY=36 KSI | A36 | S0.01 | ✅ No | L-shapes for lintels. |
| Plates | FY=36 KSI | A36 | S0.01 | ✅ No | Baseplates, cap plates, lintel plates. |
| Anchor Rods | ASTM F1554, GR. 36 | F1554 Gr.36 | S0.01 | ✅ No | — |
| High Strength Bolts | ASTM A325N | A325-N | S0.01 | ✅ No | N-type (threads in shear plane). |
| Weld Filler Metal | 70 KSI MIN TENSILE | E70XX | S0.01 | ✅ No | Standard. |
| Galvanizing | GALVANIZED | ASTM A123 / A153 | S0.01 | ✅ No | Callout for bearing plates on S0.02. |

Normalized Grade Summary

| Category | Grade | Source | Status |
| --- | --- | --- | --- |
| W-shapes | A992 Gr.50 | S0.01 | ✅ OK |
| HSS / Tube | A500 Gr.C | S0.01 | ✅ OK |
| Plates | A36 | S0.01 | ✅ OK |
| Anchor bolts | F1554 Gr.36 | S0.01 | ✅ OK |
| Structural bolts | A325-N | S0.01 | ✅ OK |
| Weld filler metal | E70XX | S0.01 | ✅ OK |

## 5. SCOPE DETECTION & CLASSIFICATION

---

Member Scope Register

| # | Member Type | Detected? | Qty (approx) | In Fab Scope | Source Sheet | Notes |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Columns(W) | ❌ Not Found | 0 | ❌ NO | — | — |
| 2 | Columns(HSS) | ✅ Yes | 10 | ✅ YES | S0.02, S1.01, S3.06 | Main bldg columns and trellis columns. |
| 3 | Primary Beams | ✅ Yes | 8 | ✅ YES | S1.02, S3.06 | W16, HSS18x6, HSS8x6 members. |
| 4 | Secondary Beams | ❌ Not Found | 0 | ❌ NO | — | — |
| 5 | Transfer Beams | ❌ Not Found | 0 | ❌ NO | — | — |
| 6 | Purlins | ❌ Not Found | 0 | ❌ NO | — | Wood scope. |
| 7 | Girts | ❌ Not Found | 0 | ❌ NO | — | Wood scope. |
| 8 | Roof Joists | ❌ Not Found | 0 | ❌ NO | — | Wood trusses. |
| 9 | Floor Joists | ❌ Not Found | 0 | ❌ NO | — | Wood I-joists. |
| 10 | Vertical Bracing(HSS) | ❌ Not Found | 0 | ❌ NO | — | — |
| 11 | Horiz. Bracing | ❌ Not Found | 0 | ❌ NO | — | — |
| 12 | Moment Frames | ❌ Not Found | 0 | ❌ NO | — | — |
| 13 | Shear Plates | ❌ Not Found | 0 | ❌ NO | — | — |
| 14 | Trusses | ❌ Not Found | 0 | ❌ NO | — | Wood scope. |
| 15 | Space Frames | ❌ Not Found | 0 | ❌ NO | — | — |
| 16 | Stairs | ❓ Uncertain | 0 | ❓ UNCLEAR | — | Stairs shown but construction not defined. |
| 17 | Landings | ❓ Uncertain | 0 | ❓ UNCLEAR | — | Assumed concrete or wood. |
| 18 | Handrails/Guardrails | ❓ Uncertain | 0 | ❓ UNCLEAR | — | Assumed Arch. scope. |
| 19 | Ladders | ❌ Not Found | 0 | ❌ NO | — | — |
| 20 | Mezzanines | ❌ Not Found | 0 | ❌ NO | — | — |
| 21 | Platforms/Walkways | ❌ Not Found | 0 | ❌ NO | — | — |
| 22 | Canopies | ✅ Yes | 1 | ✅ YES | S1.02 | Pre-fabricated by others. Our scope TBD. |
| 23 | Shade Structures | ✅ Yes | 1 | ✅ YES | S3.06 | Trellis structure. |
| 24 | Bollards | ❌ Not Found | 0 | ❌ NO | — | — |
| 25 | Gates | ❌ Not Found | 0 | ❌ NO | — | — |
| 26 | Fences | ❌ Not Found | 0 | ❌ NO | — | — |
| 27 | Site Rails | ❌ Not Found | 0 | ❌ NO | — | — |
| 28 | Embeds | ❌ Not Found | 0 | ❌ NO | — | — |
| 29 | Crane Beams | ❌ Not Found | 0 | ❌ NO | — | — |
| 30 | Crane Rails | ❌ Not Found | 0 | ❌ NO | — | — |
| 31 | Base Plates (Loose) | ✅ Yes | 10 | ✅ YES | S0.02, S3.06 | For all HSS columns. |
| 32 | Base Plates (Assembly) | ✅ Yes | 10 | ✅ YES | S0.02, S3.06 | — |
| 33 | Anchor Bolt Plans | ✅ Yes | 1 | ✅ YES | S1.01 | AB locations shown, details are incomplete. |
| 34 | Precast Interface Steel | ❌ Not Found | 0 | ❌ NO | — | — |
| 35 | Galvanizing (noted) | ✅ Yes | — | ✅ YES | S0.02 | Bearing plates noted as galvanized. |
| 36 | Misc Plates/Clips/Angles | ✅ Yes | — | ✅ YES | S0.02 | Lintel angles, lintel plates, stiffeners. |
| 37 | Delegated Connection Design | ✅ Yes | — | ✅ YES | S0.01 | General Note 12 explicitly delegates. |
| 38 | CNC / NC Files Required | ✅ Yes | — | ✅ YES | — | Standard deliverable. |

Items confirmed IN fabrication scope: HSS Columns, W-shape and HSS beams, steel lintels (W, L), base plates, miscellaneous plates, trellis structure steel.

Items confirmed OUT of scope: Wood framing (joists, trusses, studs), CMU walls.

Items requiring scope clarification RFI:

"Pre-fabricated Canopy by Others" (S1.02): Clarify if any structural steel support framing is in our scope.

Stairs: Confirm material and if structural steel stringers/treads are required.

## 6. ANCHOR BOLT & BASEPLATE INTAKE

---

Anchor Bolt & Baseplate Schedule

| Col Mark | Pattern | Bolt Dia | Spec/Grade | Embed | Projection | BP Size | BP Thk | Grout Thk | Hole Type | Sheet | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| C5 | 4-Bolt | 3/4" | F1554 Gr.36 | 🔴 MISSING | 🔴 MISSING | 12"x12" | 3/4" | 🟡 MISSING | STD | S0.02 | ❌ Fail |
| C6 | 4-Bolt | 3/4" | F1554 Gr.36 | 🔴 MISSING | 🔴 MISSING | 12"x12" | 1" | 🟡 MISSING | STD | S0.02 | ❌ Fail |
| C8B | 4-Bolt | 1" | F1554 Gr.36 | 🔴 MISSING | 🔴 MISSING | 16"x16" | 1" | 🟡 MISSING | STD | S0.02 | ❌ Fail |
| Trellis Col | 4-Bolt | 1" | F1554 Gr.36 | 12" | 🔴 MISSING | 16"x16" | 1" | 🟡 MISSING | STD | S3.06 | ⚠️ Warning |

## 7. CONNECTION INTELLIGENCE

---

Connection Assumption Register

| Joint Location | Members Connected | Connection Type | Bolt Size/Grade | Weld Size/Type | Plate Thk | Slip-Critical? | Deferred? | RFI? |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Beam-to-CMU | W16x36 to CMU Wall | Bearing Plate | N/A | Field | 3/8" | ❌ No | ✅ Yes | 🟡 Minor |
| Beam-to-Column | HSS18x6 to HSS Column | HSS Shear Tab | 3/4" A325-N | 5/16" Fillet | 3/8" | ❌ No | ✅ Yes | 🟠 Major |
| Beam-to-Beam | W14x22 to HSS18x6 | Simple Shear Tab | 3/4" A325-N | 5/16" Fillet | 3/8" | ❌ No | ✅ Yes | 🟠 Major |
| Column Base | HSS Column to FDN | Base Plate | See Sec. 6 | 5/16" Fillet | See Sec. 6 | ❌ No | ✅ Yes | 🔴 Critical |
| Wind Post Top | Steel Beam to HSS Post | Thru-Bolted | (2) 1/2" | None | 1/2" | ❌ No | ❌ No | ✅ No |

> ⚠️ Slip-Critical Alert (complete if SC connections found): > | Check | Status | > | :--- | :---: | > | SSPC surface prep spec stated? | 🚫 Not applicable / Not found | > | Faying surface masking noted? | 🚫 Not applicable / Not found |

| Bolt pre-tension method stated? | 🚫 Not applicable / Not found | > | Surface Class (A/B) confirmed? | 🚫 Not applicable / Not found |

## 8. SPECIFICATION CONFLICT MATRIX

---

Conflicts Detected

| ID | Item | Structural Callout | Arch/Other Callout | Conflict Type | Impact | Resolution |
| --- | --- | --- | --- | --- | --- | --- |
| — | — | — | — | — | — | No conflicts detected within the provided structural drawing set. |

## 9. PRELIMINARY MTO (MATERIAL TAKE-OFF)

---

Complete MTO Register

| # | Type | Mark | Profile | Qty | Length (Imperial) | Length (mm) | Unit Wt (kg/m) | Wt (kg) | Wt (lb) | Grade | Sheet | Confidence |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Beam | — | HSS18X6X3/8 | 6 | 21'-4" | 6,502 | NF-WT | 0 | 0 | A500-C | S1.02 | LOW |
| 2 | Beam | — | W16X36 | 1 | 21'-4" | 6,502 | 53.6 | 349 | 769 | A992 | S1.02 | MEDIUM |
| 3 | Beam | — | W14X22 | 8 | 12'-10" | 3,912 | 32.7 | 1,023 | 2,256 | A992 | S1.02 | MEDIUM |
| 4 | Header | — | HSS9X5X3/8 | 1 | 12'-10" | 3,912 | NF-WT | 0 | 0 | A500-C | S1.02 | LOW |
| 5 | Lintel | L1 | W8X24 | — | NF-LEN | 0 | 35.7 | 0 | 0 | A992 | S0.02 | LOW |
| 6 | Lintel | L2 | W16X50 | — | NF-LEN | 0 | 74.4 | 0 | 0 | A992 | S0.02 | LOW |
| 7 | Column | C5 | HSS6X6X5/16 | 1 | NF-LEN | 0 | NF-WT | 0 | 0 | A500-C | S0.02 | LOW |
| 8 | Column | C6 | HSS6X6X3/8 | 2 | NF-LEN | 0 | 33.1 | 0 | 0 | A500-C | S0.02 | LOW |
| 9 | Column | C8B | HSS8X6X3/8 | 1 | NF-LEN | 0 | NF-WT | 0 | 0 | A500-C | S0.02 | LOW |
| 10 | Trellis Bm | — | HSS8X6X3/8 | 4 | Est. 13'-0" | 3,962 | NF-WT | 0 | 0 | A500-C | S3.06 | LOW |
| 11 | Trellis Col | — | HSS8X6X3/8 | 6 | Est. 8'-0" | 2,438 | NF-WT | 0 | 0 | A500-C | S3.06 | LOW |
| 12 | Plate | BP-C5 | PL 3/4" | 1 | 1'-0" x 1'-0" | 305x305 | — | 14 | 31 | A36 | S0.02 | HIGH |
| 13 | Plate | BP-C6 | PL 1" | 2 | 1'-0" x 1'-0" | 305x305 | — | 37 | 82 | A36 | S0.02 | HIGH |
| 14 | Plate | BP-C8B | PL 1" | 1 | 1'-4" x 1'-4" | 406x406 | — | 33 | 72 | A36 | S0.02 | HIGH |
| 15 | Plate | BP-Trellis | PL 1" | 6 | 1'-4" x 1'-4" | 406x406 | — | 196 | 433 | A36 | S3.06 | HIGH |

MTO Summary by Category

| Category | Count | Total Wt (lb) | Total Wt (kg) | Total (tons) |
| --- | --- | --- | --- | --- |
| W-Shapes | 10 | 3,025 | 1,372 | 1.51 |
| HSS / Tube | 20 | 0 | 0 | 0.00 |
| Pipe | 0 | 0 | 0 | 0.00 |
| Angles / Channels | 0 | 0 | 0 | 0.00 |
| Plates | 10 | 618 | 280 | 0.31 |
| Misc / Anchors | 0 | 0 | 0 | 0.00 |
| PROJECT TOTAL | 40 | 3,643 | 1,652 | 1.82 |

Note: Total tonnage is artificially low due to missing HSS unit weights and critical missing lengths for all columns and lintels. Actual tonnage is likely 3-4x higher.

## 10. DRAWING QUALITY SCORE

---

Quality Assessment

| Indicator | Score (1–5) | Finding | Blocking? |
| --- | --- | --- | --- |
| Revision / Approval Stage | 4 | Issued as "Construction Documents". Clear but not yet "For Fabrication". | No |
| Connection Design Completeness | 1 | Fully delegated. No prescriptive details provided for key connections. | Yes |
| Dimensional Clarity | 2 | Grid is clear, but all column lengths and many beam/lintel lengths are missing. | Yes |
| Scope Definition | 3 | Steel scope is identifiable but requires RFI for clarification on canopy/stairs. | No |
| Specification Availability | 5 | General notes are comprehensive and clear for materials and codes. | No |
| Cross-Sheet Consistency | 4 | No conflicts found between plan, schedule, and notes. | No |
| AISC / AWS Compliance Indicators | 3 | Standard codes are referenced, but detailing is absent. | Yes |
| OVERALL SCORE | 22/35 | Grade: B — Significant missing information prevents fabrication. | — |

Fabrication Start Recommendation: ❌ HOLD Reason: Critical dimensions (all column lengths, lintel lengths) and anchor bolt details (projection, embedment) are missing, which blocks material procurement and model creation.

## 11. ISSUE REGISTER

---

All Blocking + Non-Blocking Issues

| ID | Priority | Type | Description | Sheet | Blocks Fab? | Suggested RFI |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 🔴 Critical | MISSING-DIM | All column lengths are missing from the Steel Column Schedule. | S0.02 | ✅ Yes | RFI-001 |
| 2 | 🔴 Critical | MISSING-DIM | Anchor bolt embedment and projection dimensions are missing for all main building columns (C5, C6, C8B). | S0.02 | ✅ Yes | RFI-002 |
| 3 | 🟠 Major | MISSING-DIM | Lengths for steel lintels L1, L2, and loose angle lintels are not provided. Schedule refers to Arch. drawings. | S0.02 | ✅ Yes | RFI-003 |
| 4 | 🟠 Major | CONNECTION-INCOMPLETE | Connection design is delegated. Please confirm required submittals (calculations, erection drawings, etc.) and any load information or special considerations for the delegated engineer. | S0.01 | ✅ Yes | RFI-004 |
| 5 | 🟡 Minor | SCOPE-GAP | Plan S1.02 notes "PRE-FABRICATED CANOPY BY OTHERS". Please clarify if any structural steel supports, posts, or connections to the main structure are within the steel fabricator's scope. | S1.02 | ❌ No | RFI-005 |
| 6 | 🟡 Minor | MISSING-DETAIL | Grout thickness under base plates is not specified. Please provide required thickness. | S0.02 | ❌ No | RFI-006 |
| 7 | 🟢 Observation only | NF-WT | Unit weight for HSS18x6x3/8, HSS9x5x3/8, HSS6x6x5/16, HSS8x6x3/8 not found in standard AISC tables. Please confirm availability or provide substitution. | S1.02, S0.02 | ❌ No | RFI-007 |

Summary: 2 Critical · 2 Major · 2 Minor · 1 Observation only · Total: 7 issues

## 12. READY-TO-SEND RFI PACKAGE

---

🔴 Critical RFIs (must answer before modeling): RFI-001 through RFI-002 --- RFI-001 To: Taylor & Viola Structural Engineers Re: S0.02 — Steel Column Schedule Priority: Critical Blocking: Yes

Question: The Steel Column Schedule on sheet S0.02 does not list the lengths for column marks C5, C6, and C8B. Please provide a complete schedule with all required column lengths (or top/bottom of steel elevations) to allow for material procurement and modeling.

Expected Response Format: A revised Steel Column Schedule on sheet S0.02 or a supplementary schedule providing all column lengths.

RFI-002 To: Taylor & Viola Structural Engineers Re: S0.02, S1.01 — Anchor Bolt Details for Main Columns Priority: Critical Blocking: Yes

Question: The Steel Column Schedule on S0.02 and foundation details do not specify the required embedment depth or above-concrete projection for the anchor bolts on columns C5, C6, and C8B. Please provide these critical dimensions.

Expected Response Format: Written confirmation of dimensions or a detail showing required embedment and projection for each column type.

--- 🟠 Urgent RFIs (answer within first week): RFI-003 through RFI-004 --- RFI-003 To: Taylor & Viola Structural Engineers Re: S0.02 — Lintel Schedules Priority: Urgent Blocking: Yes

Question: The Lintel Schedule and Brick Veneer Loose Lintel Schedule on sheet S0.02 do not provide lengths for any of the steel lintels (e.g., L1, L2, L7x4x3/8). The schedules refer to opening sizes on Architectural drawings which were not included in the bid package. Please provide all steel lintel lengths or the relevant architectural drawings.

Expected Response Format: A complete lintel schedule with lengths, or issuance of the corresponding architectural elevation/plan sheets.

RFI-004 To: Taylor & Viola Structural Engineers Re: S0.01 — General Structural Note #12 Priority: Urgent Blocking: Yes

Question: General Structural Note #12 delegates the design of steel connections to the fabricator. Please confirm the required submittal package for this delegated design (e.g., sealed calculations, erection drawings with connection details). Additionally, please provide any specific connection load tables, criteria, or special considerations that must be used for the design.

Expected Response Format: Written confirmation of delegated design submittal requirements and provision of any necessary design criteria or load tables.

--- 🟡 Standard RFIs (answer before drawing release): RFI-005 through RFI-007 --- RFI-005 To: Taylor & Viola Structural Engineers; rba. Re: S1.02 — Canopy Scope Priority: Standard Blocking: No

Question: The Second Floor Framing Plan (S1.02) indicates a "PRE-FABRICATED CANOPY BY OTHERS". Please clarify if the structural steel fabricator's scope includes any support beams, columns, embeds, or connection hardware associated with this canopy.

Expected Response Format: Written clarification of the steel fabrication scope related to the canopy.

RFI-006 To: Taylor & Viola Structural Engineers Re: S0.02 — Base Plate Grout Thickness Priority: Standard Blocking: No

Question: The base plate details shown in the Steel Column Schedule (S0.02) do not specify a grout thickness. Please provide the required grout thickness to be used under all steel column base plates.

Expected Response Format: Written confirmation of the required grout thickness.

RFI-007 To: Taylor & Viola Structural Engineers Re: S0.02, S1.02 — Non-Standard HSS Sizes Priority: Standard Blocking: No

Question: The drawings call for several HSS sizes (HSS18x6x3/8, HSS9x5x3/8, HSS6x6x5/16, HSS8x6x3/8) that are not common production sizes per AISC. Please confirm these sections are available or provide preferred substitute sections that are readily available.

Expected Response Format: Confirmation of availability or a list of acceptable substitute sections.

## ACTION SUMMARY

---

Priority Actions for This Analysis

| # | Priority | Action Required | Owner | Deadline | Blocking? |
| --- | --- | --- | --- | --- | --- |
| 1 | 🔴 Critical | Issue RFI-001 for missing column lengths. | Estimator/PM | ASAP | ✅ Yes |
| 2 | 🔴 Critical | Issue RFI-002 for missing anchor bolt embed/projection. | Estimator/PM | ASAP | ✅ Yes |
| 3 | 🟠 Major | Issue RFI-003 for missing lintel lengths. | Estimator/PM | ASAP | ✅ Yes |
| 4 | 🟠 Major | Issue RFI-004 to clarify delegated design submittal requirements. | Estimator/PM | ASAP | ✅ Yes |
| 5 | 🟡 Minor | Request architectural drawings for context and verification. | Estimator/PM | ASAP | ❌ No |